
Configuring Comli-OPC Server for WinCC Scada on Sattcon PLC

1
Introduction
1
2
Configuration process
2

2.1
Creating OPC client connection in WinCC.
2

2.2
Configuration of the Analogue & Digital tags in WinCC.
7
3
Creating tags on OPC Server
12

3.1
Channel Configuration:
14
4
Datablock configuration on opc Server.
16

4.1
Analogue Signal Configuration
16

4.2
Digital Signal configuration
18



1 Introduction

This document describes the configuration guidelines for the Sattcon PLC over WinCC Scada through the Comli-OPC server. The purpose of using the Comli-OPC server for communicating the WinCC Scada with the Sat-Con PLC is because; Sattcon supports the Scada communication only through Comli-OPC in unique UU Projects where WinCC is to be installed over Sattcon PLC. The Sattcon PLC communication with the WinCC Scada is through SattBus using the SBC232 module.

SattBus is a robust communication network for linking controllers, intelligent I/O devices, sensors, etc. SattBus is the ideal solution for users seeking a low-cost field bus capable of tolerating harsh environments, which is to be used to collect small amounts of data.

The information provided in this document provides as a stepwise guideline regarding the Analogue as well as Digital tag configuration.

The additional feature of a COM-LI (COMmunication Link) Protocol is as follows:

1. Maximum use is made of the communication line, which results in compact storage of data to be transmitted or received.

2. The transmission is secure, because every character as well as entire message is checked.

2 Configuration process

2.1 Creating OPC client connection in WinCC.

· Start and Open the WinCC Explorer. The following screen shall appear.

[image: image1.png]=181]

|Dw|(m» |5

G

= @ wince_stabicoraphics_p1 issuet
8 conputer

Internal tags
SIMATIC 57 PROTOCOL SUITE

37 Graphics Designer
£ Alarm Logaing
JJ TegLogang
Repart Designer
GlobalSerit
Text Lbrary
User Adminstrator

§ cossmetorence

wince_statcarapics_p1_ssue1{Tag Management|

dstart[|| & M & 1 51 6y || Byoatatrom... | Hieroject doc...| E]eray stane... | B)comti-onc .|| g winccewpl.

Name

Type

BT

B swwaric7 proTocoL sure
Borc

Internal tags
WIRCC Commurication Driver(s)
WIRCC Commurication Driver(s)

[External Tags: 1005 { Licsnse: DEMO

(AR Z (G S®» L5 s




· Right click on the “Tag Management”.

· Click on “Add New Drivers”.

[image: image2.png]2
Loskin: | 3 bin o] ¢ B ok E-

i TS st P
e 15 Modbus Proocol e cn
518k rady O 4+ 5. Chn 5] Modbus Serid.cHt
5] e radey el o1 opc.ci
(5] Ao Mot Protoco Tterfoce,CH SPROFIEUS 0.t
(S, slpromus s
Kl [— |

Fienane:  [OPC Open
Filesof type:  [WinCC Commurication Diver (chn) < Cancel

7





· Insert the OPC channel In WinCC. 

· In WinCC Explorer OPC Client Channel will Be created

· Insert connection to OPC server As shown in the Picture

· Right click on OPC Groups and select “Properties”.

[image: image3.png]Fle Edt Vew Edtors Toos Hep

|Dw|m»|5E|

B

@ conputer
=B8] Tag venagement

Internal tags
e § orc

e Dver

B structure i
- GraphicsDe _ System Parameker
L Aamioga o

1 Tsgtogane

& Report Desi
GlobalSerp__ propeties

g Test Lbrary—

paste

User dminrator
§ cossmetorence

Pa




[image: image4.png][NewConnection Properties

0PC G st |

OPC Server Name:

| Test

Flun the server on ancther compuler: Server

R e——

-Read data o
@ Cache C Device

I e, specify the OPC server and, i necessay, the computer
that you want o access.

Cancsl [ |_Hes





· Enter “Novotek.SCCOPC” in the OPC Server Name Field
· Check the Connection With the Server using Test Server button 

· If connection properties are ok then following message should appear.

[image: image5.png][NewConnection Pre

0PC G st |

OPC Server Name:

[Novtek SCCOPC
Test

Flun the server on ancther compuler: Server

I

© Cache & Device

I e, specify the OPC server and, i necessay, the computer
that you want o access.

ok | Con | e





2.2 Configuration of the Analogue & Digital tags in WinCC.

[image: image6.png]=181]

Ele Edt Vew Edtors Toos Hep

RO G
@ wince_staticoraphics_p1_ssuel ame Type Parameters Lost Change
& Computer e b Taq o 12212004 243,44 P
=M= Henogenert: Balarm_a Tag group. 1/22]2004 1:01:53 PM
Internal tags Sevents Tag group, 1/27/2004 2:38:40 P
B % JpancSTIROTOCOLIUE | Sgraphia Tag growp Sf23/2004 12:05:25 P11
Sarphto Tag grovp 1122{2004 1:04:53 PH
= E o e " | Sorephis Tag growp 12212004 1:01:53 P
v fien G, Saraphz Tag group. 1/22{2004 1:01:53 P
S plar_ New Tag, Saraphs Tag group. 1/22{2004 1:01:53 P
S A Tagroup 1212004 10135370
8 g [ Soraphs Tag group. 1/22]2004 1:01:53 PM
Sow (Saraphe Tag group. 1/22/2004 1:01:53 P
B oy (Saraphts Tag grovp 1122{2004 1:04:53 PH
Soa e [ araphiz Tag group. 1/22{2004 1:01:53 PM
Sox  |Soaw Tag group 12212004 1:01:53 P
5 gray Delete (S grapha Tagoroup 1/22/2004 1:01:53 PM
s g — (Saraphs Tag group. 1/22/2004 1:01:53 P
3 o 'S graphti_rdwibits Tag grovp 1122{2004 1:04:53 PH
3 arephiz Sgraphiz_rdwibits Tag group. 1122{2004 1:04:53 PH
5 gphiz Sgrapht3_rdwibits Tag grovp 1122{2004 1:04:53 PH
Qoo Sorapho_rrbits Tog group 1z2j2004 1015370
Doate Sorpah7 rdwrbis Tag group 12212004 1:01:53 P
g . B bytes Toa group 1z2j2004 101:53 70
araphi1_rcits
3 graphiz dwbits
2 grapht3 dwrbits
2 craphs s
2 orpeh_scrbs
5w bytes
B Structure tag
37 Graphics Designer
£ Alarm Logaing
JJ TegLogang
& Report Designer
=1 clobal Seript
g TestLbrary
User Adminstrator
B Crossheference
wice_staicgraphics _pi_issue1Tag Management|OPCIOPC Groups (OPCHN Ui #1){sattcon_OPC [External Tag 1005 { License: DEMO [l

Hstart|| & B & 1l 51 5y || BJRoadvep-cD |[€ wincCenpl.. E]ComLiopC .| ¥ Cripevdatt [(EARLEIENS®» L L 1





1. Right click on the Sattcon_OPC and create a new Group. (A new tag can also be created directly).

[image: image7.png]=181]

Ele Edt Vew Edtors Toos Hep

FEEEEE G
@ wince_staticoraphics_p1_ssuel ame Type Parameters Lost Change
@ Computer Ciweiie Binary Tag 12]4[2003 4:25:20 A
=[] Tag Management: | Zito40s0 Binary Tag 12}4{2003 4:25:20 AW
Internal tags Direoe Unsigned 16-bit value 31132004 309105 P
SIMATIC 57PROTOCOLSUITE. | = 4 Unsigned 16-bit value 31132004 313229 P
& |4 %(OP(G (P #1) | Tiraoze Unsigned 16-bit value 1/9/2004 10:59:56 AM
B s (orcrmt Doz Unsigned 16-bit value 1/3/2004 11:00:20 a1
i‘* ;L”;m o | Tiraost Unsigned 16-bit value 1/9/2004 11:00:46 AM
= e Do Unsigned 16-bit value 1/3/2004 11:01:06 a0
2 v Doz Unsigned 16-bit value 1/3/2008 11:03:17 a1
2 gaphis Dot Unsigned 16-bit value 1/3/2008 11:04:15 a0
= aaphio iz Binary Tag 12/4[2003 4:25:20 a1
3 bt Diesst Binary Tag 12/4[2003 4:25:20 a1
5 Citosozs Binary Tag 12/4[2003 4:25:20 a1
3 gaphs itsseo Binary Tag 12/4[2003 4:25:20 a1
3 geps Dises Binary Tag 12/4[2003 4:25:20 a1
3 raphs irossss Binary Tag 12/412003 425120 A
=) graphe | Zitod085. Binary Tag 12/4/2003 4:25:20 AM
3 graphts Zito40%0 Binary Tag PLCON:132", 12/4/2003 4:25:20 AM
3 oraphiz Zitos1s0 Binary Tag PLCIX:226", 12}4{2003 4:25:20 AW
D oent? Ditosss Binary Tag o107 12/4[2003 4:25:20 a1
3 et Tiosie Binery Tag "PLCa: 166", 12/4]2003 4:25:20 A
g . Ditosser Binary Tag PLCO:A:1067" 12/4[2003 4:25:20 a0
Dot Sy e b s pfz08 1081 1
3 Zmim; b Tiraozs Unsigned 16-bit value PLCOLR;325" 3/22/2004 11:31:33 AM
=) rerts, e Tirnie Unsigned 16-bit value 11312004 12:17:40 P00
2 orpeh_scrbs
5w bytes
B Structure tag
37 Graphics Designer
£ Alarm Logaing
JJ TegLogang
& Report Designer
=1 clobal Seript
g TestLbrary
User Adminstrator
B Crossheference
wince_staicgraphis_pi_issue1Tag Management|OFCIOFC Groups (OPCHI Lk #1){Sattcon_OFClgraph2) [External Tag 1005 { License: DEMO [l

Hstart|| & B & 1l 51 5y || BJRoadvep-cD |[€ wincCenpl.. E]ComLiopC .| ¥ Cripevdatt (AR LI ENS®» L L e





2. After creating a new group-“graph2”, right click on that “graph2”, create a new tag digital tag “t04116” and a analogue tag “r4067”.

[image: image8.png]=181]

Fle Edt Vew Edtars Took Hep

RO G
5 vince_stabarephics_pi issuel e Tree Parameters Lost Change
@ Computer @wstie Binary Tag "PLC3:16° 12/4{2003 4:25:20 AW
=[] Tag Management: | Zito40s0 Binary Tag "PLCIR:7 12}4{2003 4:25:20 AW
Internal tags i e - 3/19/2004 3:09:05 P
SIMATIC 57 PROTOCOL SUITE [ 20 properties 3/19/2004 3:13:29 P
e orc
v Il 11312004 10:59:55 A
=1l 0PC Groups (oPcH Unit #1) 2,4 Gererel | Limis/Repoig o e
Ehé ?’;‘g—m";‘ Si4 [ Fropetiesof Tags 1j9j2004 11:00:46 A
i i+ Name: ik 1/3/2004 11:01:06 AM
A evens 24| Daage Binay Tog - Hfan0s 11:03117 A
3 grphte i+ 1oy 28 1/3/2004 11:04:15 AR
3 araphin i Lengh it 12J4/2003 4:25:20 AM
3 repht1 Zito Address: g Selest it 12}4{2003 4:25:20 AW
5 oraphz Zito Adoptfomat 3 I 12}4{2003 4:25:20 Al
= graph Zito - 1 12/4{2003 4:25:20 AM
gqvaphs Qo ||| & Bt uigeupets € Computerfaca updele s 12/4/2003 4:25:20 A
arapht o 1 12J4/2003 4:25:20 AM
=) graphe Do f 12/4/2003 4:25:20 AM
Lingar sedling
3 oraphts S s 12j4f2003 425120 A
3 araphiz Dol | [Piocess Vot Harge Tag Ve Range- hy Lopian0s 426,20 a1
gqvav:; o et [5 Valeel [ 1 12}4{2003 4:25:20 Al
orapt i It 12}4{2003 4:25:20 AW
3 grapho Velie? [G Yele2 [5
2 vt s i 1 12}4{2003 4:25:20 AW
b iyl = 2 T2 110341 A
3 Zmim; b s 2 3/22/2004 11:31:33 AM
o 4 2 113j2004 121740 P00
Sasstoscmits (3 [ esserotethat henyou us tag e hraricdabg.th rame of e ag o
2 orpeh_scrbs e e e A e o
2 wrie_bytes rumber.
B stucture tag
< Graphics Designer
2l Loggng = Help
1] Teatooga —
& Report Desiner
=1 clobal Seript
Text Lbrary
$ crossreference
wince_staticoraphcs_p1_ssuetTag Management{OPCIOPC Groups (OPCH Unk #1)|Sattcon_OFCigreph| [Evternal Tags: 1005 License: DENO ol
Hstart|| & B & 1l 51 5y || BJRoadvep-cD |[€ wincCenpl.. E]ComLiopC .| ¥ Cripevdatt [(ER LI ENS®» L L% nam





3. For the digital tag, the configuration screen shall contain the following information:

Name of the tag=t04116

Data Type=Binary tag

Length=1

Address=”PLC9:X:164”,””,11 (Note the syntax of the tag)

Press the select button and configure as shown next.

[image: image9.png]=181]

fie it yen Edtors Iods el
FEEEEE G
= @ wince_stabicoraphics_p1 issuet Nare Trpe Parameters Lot Change
@ conputer @one Ginery Tsa FLcaLe 12j4{2003 42520 A
=] Tag Management | Zito4060 Binary Tag 12/4/2003 4:25:20 AM

Interna tags
SIMATIC 57 PROTOCOL SLITE
& orc
= JJl oPc Groups (OPCHN Lnit #1)
54 Sattcon_OPC
3 dlarm 6
3 dlarm
3 Events
3 grphte
3 raphin
3 raphit
8 garhz
8 et
3 arhs
8 oarhe
3 oot
3 raphis
3 qphiz
e
8 oarte
8 oarho
3 grapht 1 dwbits
3 graphiz dwbits
2 grapht3 dwrbits
2 craphs s
2 orpeh_scrbs
5w bytes
B Structure tag
7 Graphics Designer
£ Alarm Logaing
JJ TegLogang
28 Report Designer
=1 clobal Seript
Text Lbrary
User Adminstrator
B Crossheference

wince_saticgrapics_p1_issuet{Tag Management{OPC|OPC Groups (OPCH Ut #1){Sattcon_OPClaraphz

= Errr—

=
=
=
=
=
=
S
S
S
S
S
S
S
S
S
S
S
S
S
=
=

[

c04116 Properties

opC A |

Item Name:

Access Palf:

Data Type:

[Bodeanvabe =]

Flease enter the name an the acosss path (i nesded) of the OPC item
and select i data tpe.

Help

=

91212004 11:50:12 AM
3/19(2004 3:13:29 P11
1/972004 10:59:58 AM
1/972004 11:00:20 AM
1/9/2004 11:00:46 AM
1/9/2004 11:01:06 AM
1/972004 11:03:17 AM
1/972004 11:04:15 AM

i 12/4]2003 4:25:20 A
i 12/4]2003 4:25:20 A
h 12/4]2003 4:25:20 A
1 12/4]2003 4:25:20 A
i 12/4]2003 4:25:20 A
1 12/4]2003 4:25:20 A
i 12/4]2003 4:25:20 A
i 12/4]2003 4:25:20 A
i 12/4]2003 4:25:20 A
1 12/4]2003 4:25:20 A
i 12/4]2003 4:25:20 A
1 12/4]2003 4:25:20 A
2 1/972004 11:04:41 AM
2 3122/2004 11:31:33 AM
2 1/13/2004 12:17:40 P11

o Cweel |t

dstart || & B & 1l 51 By || BJRoadvap-co | E]comiiorc

[Evternal Tags: 1005 License: DENO ol

g CDeviatt.. | @winccgl... [roatte

[(EAR LI ENS®» L L s




Tag Configuration for the analogue signals:

[image: image10.png]=181]

fie it yen Edtors Iods el
FEEEEE G
= @ wince_stabicoraphics_p1 issuet Name Trpe Parameters Lot Change
@ conputer Sitosnie Ginery Tsa FLcaLe 12j4{2003 42520 A
=] Tag Management | Zito4060 Binary Tag PLCO::T 12/4/2003 4:25:20 AM

Interna tags
SIMATIC 57 PROTOCOL SLITE
& orc
= JJl oPc Groups (OPCHN Lnit #1)
54 Sattcon_OPC
3 dlarm 6
3 dlarm
3 Events
3 grphte
3 raphin
3 raphit
8 garhz
8 et
3 arhs
8 oarhe
3 oot
3 raphis
3 qphiz
e
8 oarte
8 oarho
3 grapht 1 dwbits
3 graphiz dwbits
2 grapht3 dwrbits
2 craphs s
2 orpeh_scrbs
5w bytes
B Structure tag
7 Graphics Designer
£ Alarm Logaing
JJ TegLogang
28 Report Designer
=1 clobal Seript
Text Lbrary
User Adminstrator
B Crossheference

wince_saticgrapics_p1_ssuet|Tag Management{OPC|OPC Groups (OPCHN Uit #1)|Sattcon_OPClaraphz

Hstart ||| & B & [ 51 6 || Byroadmap-c

o Errr————

=
=
=
=
=
=
S
S
S
S
S
S
S
S
S
S
S
S
S
=
=

Geneel | LimsRepati

[-Propetiss of Tags
Nare:
Dataiype
Length
Address:

Adept fomat

& Eiojectuide updle.

fut
Unsigned 16-bit value. -

B
FLCILR 367

Z Select
[WordTolnsignedword -

€ Computerdoalupde.

I™ Linear scaling

-PiocessVal Fangs:

Tl Fange:

Vel [3

Value

Va2 [3

Value?

Pumbe.

Flease note that when you use tags nthe dynamic diaog, the name o the tag
doss ot contain any ntional specal characters and does rot begin with

Cancsl [ |_Hes

| Biconropc cont

3/19/2004 3:09.05 P
3119(2004 3:13:29 P
1/972004 10:59:58 AM
1/972004 11:00:20 AM
1/9/2004 11:00:46 AM
1/9/2004 11:01:06 AM
1/972004 11:03:17 AM
1/972004 11:04:15 AM
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
12/4]2003 4:25:20 A
1/972004 11:04:41 AM
3122/2004 11:31:33 AM
1/13/2004 12:17:40 P11

[Evternal Tags: 1005 License: DENO I

¥ Cievdattryd.. [ @ winceemplorer.. | S4 BN G ®» 8,88 1120m




4. For the analogue tag configuration screen, the details are as follows:

Name of the tag=r4067

Data type=Unsigned 16-bit value

Length=2

Address=”PLC9:LR:367”,””,2 (Press the select button and configure)

Adapt format=WordToUnsignedWord.

5. In this way, the tag configuration is done in WinCC for the analogue and the digital tags.

3 Creating tags on OPC Server

· Start SCC I/O Server

[image: image11.png]=181]

Bl Edt Vew DiplayMode Options telp

D& 9 » T | B| @] &) 7| ==

B
5 ¢ Channelt
PLC7 Name: [SCCDiv 1/0 Server, Version 7103
PLce
PLC
PLCe
Number of Chanrels: |1
Numberof Devices: [+

Numberof DataBlocks: |21

+3 [[+F] | +& || % ”
For Help, ress Fi ——
Hstart[|| & B & 1 51 5y || Bypatatro..| Fiproject .. | Bpray sto..| @ wincee... | Biconio..|[fgcivev-. | HELERZEMS®» LAY ouisem





· Define the number of channels = 1(normally its 1 when we connect it to one network)

· Number of Devices=4 (No of Sattcon PLC’s which WinCC is communicating)

· Number of Data Blocks=21(Analogue + Digital Blocks).

[image: image12.png]C:\Devdatt'Hyde'\,0PC Server Configuration\Hyde_Full.5CC - PowerTool =18 x|

Bl Edt Vew DiplayMode Options telp

ols(@lE @ » | B ®| & 7| ==
Channel Name: [Channell Port Sharing [~ Enable v

o
| |
prod
et Pe— P
pred

I 5 Capwe o= | | comror e
fois
o | e e || e e S
o
e L e B R
oo

g2 bt = || owmx 3
- e 21 || swm ]
w7 | spm i swo
proed

b || e e =
Block3g v 2
provid
prov
provd
Blockd6 ATS: ¥ DSR: v RTS: ™ DSR: ™
provs
v v

sHne crs: @ ot B || s oTR: I
foae
provd
provs

o8 | o) | v | X |

For Help, press F1

dstart[|| & D & [ 51 6y || Bypataro..| Diproject . | Bray sto..| @ wincee... | Blcomiro..[[1g cev.

rrr—

(AR 2 (G S®» L5 oz





After the configuration, the window will be displayed as above. 

· Add the new Channel on clicking the button as displayed above.

· Add the number of Devices required in the same manner. The number of devices represents the number of PLCs present.

· The Device name is the PLC name.

3.1 Channel Configuration:

[image: image13.png]C:\Devdatt'Hyde'\,0PC Server Configuration\Hyde_Full.5CC - PowerTool =18 x|

Bl Edt Vew DiplayMode Options telp

ols(@lE @ » | B ®| & 7| ==
Channel Name: [Channell Port Sharing [~ Enable v

o
| |
prod
et Pe— P
pred

I 5 Capwe o= | | comror e
fois
o | e e || e e S
o
e L e B R
oo

g2 bt = || owmx 3
- e 21 || swm ]
w7 | spm i swo
proed

b || e e =
Block3g v 2
provid
prov
provd
Blockd6 ATS: ¥ DSR: v RTS: ™ DSR: ™
provs
v v

sHne crs: @ ot B || s oTR: I
foae
provd
provs

o8 | o) | v | X |

For Help, press F1

dstart || & D & [ 51 5 || Bypetarom Despak 2_05... | BcomL-0PC Config Guidel.. [ CADevdatt\yde\0P..

rrr—

[(RAELEEEES > ®L8 oz




Specify the different configurations for the channels in the Primary Channel section, such as the 

· Com Port=COM1

· Mode=Direct

· Baud Rate=9600

· Data Bits=8

· Stop Bits=1

· Parity=Odd

· Select all the options for the RTS, DSR, CTS and DTR related to the primary channel.

· Click the “enable” option box for the defined channel. 

· We can change the channel name or keep it as it is.

[image: image14.png]\ew Folder\,ComliOPCDemo)\Default.5CC - PowerTool

Fle Edt View Display Mode Options Help

~=lolx|

l=lEE o[> = |[w w| =] | & 7|«

B
2@ ool DeveeName: [Povest —
=@
Oatttoc | [ | Desobten: [
Ostatlockz
& [ Devie2 Pinany Devios Backup Devie
i socka Piimery Hardware: [ COMLI - Backup Hardware: [COMLI -

Fiimay Statiors [T

Backup Station:  [None

I

1

RTS Keydown

il
Il

RIS Tumaround: [0

Fleply Timeout: ] Repl Timeout |01

Retis: Retis:

Delay Time: @ Delay Time: 10
Fiimaiy Radio Setup Backup Radio Setup

RIS Kepup: RIS Kepup:

RTS Keydown
RTS Tumaround:

Fiimaty Telephons Number

Backup Telephane Number

o8 | of) | o | X |

For Help, press F1

[ o[






· Create the PLC Connection and Data blocks (these will be used as tags Analogue/Digital) 

· Primary station - PLC node address

· Write the “Device name” as the “PLC number”.

4 Datablock configuration on opc Server.

Mainly there are two types of Data block of our Concerned,

· Analogue Data block

· Digital Data block

4.1 Analogue Signal Configuration

[image: image15.png]C:\Devdatt'Hyde'\,0PC Server Configuration\Hyde_Full.5CC - PowerTool =18 x|

Bl Edt Vew DiplayMode Options telp

DsEE o » T | B| @] &) 7| ==
=g 5cC
2 channels Block Neme:  [Blocked Enble 7
e
e P
v
AP | vy Pl etp
Blclaz ow Int Register ¥ Primary Rate: @l
9z ||| i i [row iAo =] p
w05 ||| | stmtrgrdess [T | || Secondayrse [Prsis
i
Endng Addess: [LR373
Blockss Phase: o0
St ||| veiiocom: 2
Socks? 81 e 50 <] || AcosssTie: [0
LatchData I~ Bz |
Disable Outputs [~ Deadband: o
Enable Block Wiites ™
+ 3 | +F | @ | X ”

For Help, press F1

Hstart ||| & B & [ 51 6 || Byroadmap-c

rrr—

| ) comL-oPC Config Guidel.. [ C\Devdatt\ryde\aP.

[(EAHR LI ENS®» L L 1uem




Under channel1 various devices are configured which are named as PLC6 to PLC9.

The analogue tags are configured as follows:

· The I/O address setup box defines the variable table to configure a Analogue signal we have to use Low Int Register and not Analogue Input/Analogue Output.

· The starting address is defined, which is LR342 and the ending address is LR373. The analogue tag explained in section 2.2 is the one which is included in this block, as this block contains many analogue tags.

· The total number of tags are defined in the variable count box. Considering the above example, it is 32.

· The bit order is defined as 15-0. The data type is defined as Uint (Unsigned 16 bit integer).

· The option for the Enabled must be clicked.

· The configuration block is shown above for the analogue input tags. 

· The above screen shows the number of tags along with the type of the tags that are configured under different PLC numbers, which are nothing but devices.

· The symbol tagged with star as shown above is the option for the monitoring of the process values to know their healthy status.

This window shows the status of the tags, which are defined in the configuration block. We can get the number of healthy tags, the number of tags which are not communicating properly. It also displays the Last read time and the Last write time along with the date.

[image: image16.png]=181 x|
o B o e s
DEEE o » [w Tefw =] % & 7|
S sc
S = ————
@ e
s
| e, TR
e
e
PLCE Receives: 0 Last Wiite Time:  [12/03/2004 05:43:44 PM
PLCE Timeouts: 0 Last Eror Time: ~ [12/03/2004 05:43:44 PM
Retries: 0 Data Qualiy: Bad
b P
tvones B
Lastror |0 Troubleshooting
+0 (=8 | +&@ || % ”
For Hep, press Fi T r
o] & 50 216 6 || Eorcsevee| Byl B EE e i o e Tl R 3 8.8 mim

S A = T =





In this manner we can define, configure and verify the number of tags and the type of the tags, which we require to monitor along with their status.

4.2 Digital Signal configuration

[image: image17.png]C:\Devdatt'Hyde'\,0PC Server Configuration\Hyde_Full.5CC - PowerTool =18 x|

Bl Edt Vew DiplayMode Options telp

DsEE o » T | B| @] &) 7| ==
=% scC
A creet Bokione  [Feicz coats B
e
e P
v
| vy Pl etp
Bk it Primary Rate: @l
0z ||| i [ORrE 5] .
s ||| swpssess [0 | | Secondayhae [praied
S
secon ||| Enangess 7%
Blockes Phase: o0
2ot || Voo [
i
a2 pccase T [0
hom P |
Disable Outputs [~ Deadband: o
Enable Block Wiites ™
o | of) | ¢ | X% |

For Help, press F1

dstart || & B & 1l 51 By || BJRoadvap-co | E]comiiorc

15 C\Devdat.. €-WinCCErl.

rrr—
(AR LI ENS®» L L% o





While defining the Digital signal, In the I/O address set up the variable type defined is I/O RAM Bit.

The starting address of the tag is written, which is X:0 in the screen displayed above. The ending address is X:236. This is one of the tag which is defined as Digital in the WinCC Scada for the PLC9 as explained in section 2.2
 The Data type is defined as digital.

The status of these signals can also be monitored as explained in the analogue section above.




To Add the channel





To Add the Device








To Add the Data block








